## Sheet1
SIGNALS | VALUES |  | binary | HEX | DEC | Nominal values (with Calibration enabled) | LVDSdrv low Replic=11 | VALUES COLD adjusted Replen= 24 6Nov2024 | COLD Adjust 4Nov2024 | https://github.com/anikolica/qpix_firmware
replenCur<1> | 0 |  | 0101 | 5 | 21 | 0 | 1 | 0 | 0 | ifconfig -a
replenCur<2> | 1 |  |  |  |  | 1 | 0 | 0 | 1 | scp root@192.168.200.20:/home/root/dataBasket1.txt .
replenCur<3> | 0 |  |  |  |  | 0 | 1 | 1 | 0
replenCur<4> | 1 |  |  |  |  | 1 | 0 | 1 | 1
curReplen<0> | 0 |  | 0101 | 5 |  | 0 | 0 | 1 | 0 |  | https://github.com/anikolica/qpix_firmware.git
curReplen<1> | 1 |  |  |  |  | 1 | 1 | 1 | 1 |  | nandorgithub
curReplen<2> | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  | Wi…12345678
curCmp<0> | 1 |  |  |  |  | 1 | 1 | 0 | 1 |  | 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
curCmp<1> | 1 |  | 1011 | B |  | 1 | 1 | 0 | 1 |  | Git clone https://github.com/anikolica/qpix_firmware.git
curCmp<2> | 0 |  |  |  |  | 0 | 0 | 0 | 1
curAmp<0> | 1 |  |  |  |  | 1 | 1 | 0 | 0
curAmp<1> | 1 |  |  |  |  | 1 | 1 | 1 | 0 |  | AD7578: pp31, 40
curAmp<2> | 0 |  | 0110 | 6 |  | 0 | 0 | 0 | 0
curInt<0> | 1 |  |  |  |  | 1 | 1 | 0 | 1
curInt<1> | 1 |  |  |  |  | 1 | 1 | 0 | 1
curInt<2> | 0 |  |  |  |  | 0 | 0 | 1 | 1
enable0 (chan15) | 1 | need | 1111 | F |  | 1 | 1 | 1 | 1
enable1 | 1 | good |  |  |  | 1 | 1 | 1 | 1
enable2 | 1 | xxx |  |  |  | 1 | 1 | 1 | 1
enable3 | 1 | xxx |  |  |  | 1 | 1 | 1 | 1
enable4 | 1 | xxx | 1111 | F |  | 1 | 1 | 1 | 1
enable5 | 1 | good |  |  |  | 1 | 1 | 1 | 1
enable6 | 1 | xxx |  |  |  | 1 | 1 | 1 | 1
enable7 (chan8) | 1 | good |  |  |  | 1 | 1 | 1 | 1
replenCur<0> | 1 |  | 1100 | C |  | 1 | 1 | 0 | 1
CLK_source_RO | 1 |  |  |  |  | 1 | 1 | 1 | 1
DBL_bar: cal ckt | 0 |  |  |  |  | 0 | 0 | 0 | 0
ringOsc_f2 | 0 |  |  |  |  | 0 | 0 | 0 | 0
ringOsc_f3 | 0 |  | 0100 | 4 |  | 0 | 0 | 0 | 0
en_ringOsc | 1 |  |  |  |  | 1 | 1 | 1 | 1
LVDSdrvr_strn | 0 |  |  |  |  | 0 | 0 | 0 | 0
en_calB | 0 |  |  |  |  | 0 | 0 | 0 | 0
COMMAND (HEX) | 55B6FFC4 |  | 55B6FFC4 | 25B680CE
poke 0x43c00000 0x00000060 |  | Integrator Reset with clocks off |  |  |  |  | 20 |  | 55B6FF46
poke 0x43c00000 0x00030060 |  | Integrator Reset with clocks on |  |  |  |  | 25 |  | 35B6FFC6
SOME COMANDS
kevin.py |  |  |  | Minimum needed to get Qpix working
kevin._sample_cal.py |  |  |  | Run Calibration: qpix injects 100fC into all channels and records replenishments during "deltaT"
kevin_sample_window.py |  |  |  | Sends resets Integators then sends AWG tirgger, then records replenishments during a time window.
python3 Integrator_rst_fix.py 1
python3 trials_get_samples.py |  |  |  | 5 trials of read_FIFO, outputs Ch0-15 as a list in order
python3 send_trigger_fix.py
python3 Clock_50MHz.py on
python3 Serial_Interface-fix.py 1 0x55B680CE |  |  |  | Ring Osc
python3 Serial_Interface-fix.py 2 0x55B680CE
python3 Serial_Interface-fix.py 1 0x55B680CF |  |  |  | External CLK
python3 Serial_Interface-fix.py 2 0x55B680CF | [5 empty] | :q
python3 Calibrate.py |  |  |  | Calibration mode, ring osc
python3 set_Thresholds.py TP 2 0.800
python3 set_Thresholds.py VCOMP 1 0.780
python3 set_Thresholds.py VCOMP 2 0.950
python3 Serial_Interface-fix.py 1 0x55B680CE |  |  |  | Calibration mode,DBL_bar, ring osc on, one channel enabled
python3 Integrator_rst_fix.py 1
python3 Calibrate.py
python3 Serial_Interface-fix.py 1 0x55B6FFC6 |  |  |  | Calibration mode, ring osc on slow, ALL channel enabled
python3 Serial_Interface-fix.py 2 0x55B600CE |  |  |  | Calibration mode, ring osc on slow, ALL channel OFF
python3 Serial_Interface-fix.py 1 0xA5B6FF4A |  |  |  | Calibration mode, NO clocks, ALL channel enabled, Replen=d10 (1fC)
python3 Serial_Interface-fix.py 1 0xA5B6FFCE |  |  |  | Run Calibration on all channels
python3 trig_and_read_FIFO_all_ch.py